## Job list
Plan No. | Area | PM Job | Frequency | Unit | Item Type | Done By
Pending | CTCM | HT Breaker & Panel Maintenance | 12 | Month | Heading
Pending | CTCM | Mill stand transformer maint job. | 12 | Month | Heading
119C1-BDCMTR | CTCM | CTCM Big DC Motor Maintenance | 1 | Month | Heading
119C1-BDCMTR | CTCM | CTCM Mill Stand DC Motor
119C1-BDCMTR | Rolling | HT Panel Room and HT Panel Flage inspection to done every 15Days. |  |  |  | Kalpesh
119C1-BDCMTR | CTCM | CTCM DC Motor Inspection. |  |  |  | Nishant
119C2STNDFLD | CTCM | Stand Field Devices Maintenance | 2 | Month | Heading
119C2STNDFLD | CTCM | Step7 PLC Latest backup to be taken. |  |  |  | Siva
119C2STNDFLD | CTCM | Stnd 1-2 MD 20 Panel inspection & Main Elect |  |  |  | Prakash
119C2STNDFLD | CTCM | Stnd 3-4 MD 20 Panel Inspection & Maint Elect |  |  |  | Prakash
119C2STNDFLD | CTCM | Stnd 5 MD 20 Panel Inspection & Maint Elect |  |  |  | Prakash
119C2STNDFLD | CTCM | Stnd 1 to 5 Bending valve stand Elect Sys Maint.
119C2STNDFLD | CTCM | Stnd 1 to 5 Roll Force & PullBack Elect System Maint
119C2STNDFLD | CTCM | Stnd 1 to 5 BUR PTs Inspection, Cable Dressing and Maint |  |  |  | Aditya
119C2STNDFLD | CTCM | CTCM All Gauge inspection points to be check and attend. |  |  |  | Prakash
119C2STNDFLD | CTCM | Rolling area Motor greasing to be done and File to be update. |  |  |  | Sanjay
119C2STNDFLD | CTCM | CTCM Oil cellar lighting maintance to be done. |  |  |  | Aditya
119C2STNDFLD | CTCM | CTCM all ECR to be arrange as per 5'S SOP & status to be update. |  |  |  | Kalpesh
119C2STNDFLD | CTCM | CTCM ECR Lighting to be repair and replaced. |  |  |  | Shivam
119C2STNDFLD | CTCM | Looper Motor Power TB and Power JB Inspection & Maint. |  |  |  | Rakesh
119C2STNDFLD | CTCM | Welder IBA and HMI spare PC Status to be update. |  |  |  | Nishant
119C2STNDFLD | CTCM | Welder IBA and Main IBA latest backup to be taken. |  |  |  | Prakash
119C2STNDFLD | CTCM | CRM-1 & CTCM Smart Barrication cable and system condition to be check |  |  |  | Kalpesh
119C2FLDDEV2 | CTCM | ENT,EXT,WLDR Field Devices Maintenance | 2 | Month | Heading
119C2FLDDEV2 | CTCM | CTCM Cable Cellar Cables inspection and check list to be update. |  |  |  | Kalpesh
119C2FLDDEV2 | CTCM | Entry, Walking Beam, Coil car Area Fld Devs Maint |  |  |  | Sanjay
119C2FLDDEV2 | CTCM | Welder Field Devices |  |  |  | Nishant
119C2FLDDEV2 | CTCM | Exit Walking Beam, Coil car 1 & 2, Transfer Car Fld Devices Maint |  |  |  | Nishant
119C2FLDDEV2 | CTCM | Exit Magnet Panel cleaning & Maint to be done |  |  |  | Nishant
119C2FLDDEV2 | CTCM | MILL ENTRY FIELD DEVICES |  |  |  | Aditya
119C2FLDDEV2 | CTCM | Welder Hydraulics Field Devices |  |  |  | Nishant
119C2FLDDEV2 | CTCM | CTCM and CRM-1 Spare Motor status to be update. |  |  |  | Sanjay
119C2FLDDEV2 | CTCM | CTCM all ECR Light to be check and correct. |  |  |  | Aditya
119C2FLDDEV2 | CTCM | Welder Cable cellar inspection to be done |  |  |  | Nishant
119C2RCMTR2 | CTCM | Roll Collant AC Motor2 Maint & Greasing | 3 | Month | Heading
119C2RCMTR2 | CTCM | STNDBY Transfer pump ACM
119C2RCMTR2 | CTCM | ST# 1 Transfer pump ACM
119C2RCMTR2 | CTCM | ST# 2 Transfer pump ACM
119C2RCMTR2 | CTCM | ST# 3 Transfer pump ACM
119C2RCMTR2 | CTCM | ST# 4 Transfer pump ACM
119C2RCMTR2 | CTCM | ST# 5 Transfer pump ACM
119C2RCMTR2 | CTCM | ST#1 Supply Pump 1 ACM (1.1)
119C2RCMTR2 | CTCM | ST#1 Supply Pump 2 ACM (1.2)
119C2RCMTR2 | CTCM | ST#2 Supply Pump ACM (2)
119C2RCMTR2 | CTCM | ST#3 Supply Pump ACM (3)
119C2RCMTR2 | CTCM | St#4 Supply Pump ACM (4)
119C2RCMTR2 | CTCM | 5.1 Supply Pump 1 ACM (5.1)
119C2RCMTR2 | CTCM | 5.2 Supply Pump 2 ACM (5.2)
119C2RCMTR2 | CTCM | ST#2/3/4 Supply Pump ACM (2/3/4)
119C2RCMTR1 | CTCM | Roll Collant AC Motor1 Maintenance | 3 | Month | Heading
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 2/3/4 ACM
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 2 ACM
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 3 ACM
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 4 ACM
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 5.1 ACM
119C2RCMTR1 | CTCM | RC Supply Filteration Pump 5.2 ACM
119C2RCMTR1 | CTCM | RC Supply System AGITATOR ACMs
119C2RCMTR1 | CTCM | RC Supply System Aux ACMs
119C2RCMTR1 | CTCM | Trafo room lighting to be repaire.
119C2CNTDSK1 | CTCM | Control Desk1 Maintenance | 3 | Month | Heading
119C2CNTDSK1 | CTCM | OD-6, OD-7, OD-8 Cleaning and Maint
119C2CNTDSK1 | CTCM | Welder OD Maint, OD-2 and OD2.1
119C2CNTDSK2 | CTCM | Control Desk2 Maintenance | 3 | Month | Heading
119C2CNTDSK2 | CTCM | OD-11, OD-12, OD-22, OD-32, OD-42, OD-52 Maint
119C2CNTDSK2 | CTCM | OD-1, OD-3, OD-3.1 Maint
119C2CNTDSK2 | CTCM | OD-14, OD-4, OD-5 Cleaning and Maint
119C1-FIRMNT | CTCM | CTCM Fire Alarm System Maintenance | 3 | Month | Heading | Aditya
119C1-FIRMNT | CTCM | CTCM Cable cellar fire sensor status to be check. |  |  |  | Aditya
119C1-FIRMNT | CTCM | CTCM all ECR Fire sensor status to be check. |  |  |  | Aditya
119C1-FIRMNT | CTCM | CTCM All fire extingusher status to be check and correct. |  |  |  | Aditya
119C1-FIRMNT | CTCM | CTCM area fire sensor status to be check |  |  |  | Aditya
119C2DCDRV | CTCM | DC Drive Maintenance | 3 | Month | Heading
119C2DCDRV | CTCM | Stand 1 Slave DC Drive
119C2DCDRV | CTCM | Stand 4 Master DC Drive
119C2DCDRV | CTCM | Stand 3 Slave DC Drive
119C2DCDRV | CTCM | Stand 2 Master DC Drive
119C2DCDRV | CTCM | Stand 2 Slave DC Drive
119C2DCDRV | CTCM | Stand 1 Master DC Drive
119C2DCDRV | CTCM | Stand 4 Slave DC Drive
119C2DCDRV | CTCM | Stand 3 Master DC Drive
119RCMCC | CTCM | RollCollant MCC Maintenance | 3 | Month | Heading
119RCMCC | CTCM | Roll Collant EMCC Maintenance
119RCMCC | CTCM | Roll Collant MCC-1 Maintenance
119RCMCC | CTCM | Roll Collant MCC-2 Maintenance
119C2GAUGE | CTCM | IMS Gauge Maintenance | 3 | Month | Heading | Prakash
119C2GAUGE | CTCM | Gauge X5B Inspection to be done |  |  |  | Prakash
119C2GAUGE | CTCM | Gauge X1 Inspection to be done |  |  |  | Prakash
119C2GAUGE | CTCM | Gauge X0 Inspection to be done |  |  |  | Prakash
119C2GAUGE | CTCM | Gauge X5A Inspection to be done |  |  |  | Prakash
119C2ACDRVS | CTCM | AC Drives Panel Maintenance | 3 | Month | Heading
119C2ACDRVS | CTCM | ACS 800 Panel |  |  |  | Jose
119C2ACDRVS | CTCM | ACS 800 Standalone Drives |  |  |  | Jose
119C2ACDRVS | CTCM | Maint Trolleys Drives |  |  |  | Jose
119C2UPS | CTCM | UPS & Battery Bank Maintenance | 3 | Month | Heading
119C2UPS | CTCM | UPS 1 & 2 Inspection and Maintance |  |  |  | Siva
119C2UPS | CTCM | UPS 1 & 2 Battery Inspection and Maintenance |  |  |  | Siva
119C2THGRPHY | CTCM | THERMOGRAPHY in ALL CTCM PANELS | 3 | Month | Heading
119C2THGRPHY | CTCM | Rolling area Oil cellar MCC panel Thermography inspection |  |  |  | Kalpesh
119C2WLDRPNL | CTCM | Welder Bigpanel Maintenance | 3 | Month | Heading
119C2WLDRPNL | CTCM | PLC 5 Panel EC 20
119C2WLDRPNL | CTCM | PLC 5 EC 41 Welder Exit
119C2WLDRPNL | CTCM | OD Wldr PLC 5 EC 46 LN 111
119C2WLDRPNL | CTCM | PLC 5 CX 20 Entry ECR
119C2WLDRPNL | CTCM | PLC 5 EC 40 Welder Top
119C2WLDRPNL | CTCM | Welder CX 21 Schllater Panel
119C2WLDRPNL | CTCM | PLC 5 EC 45 Entry Hyd Room
119C2WLDRPNL | CTCM | PLC 5 EC 44 Welder Top
119C2WLDRPNL | CTCM | PLC 5 EC 43 Welder Exit
119C2WLDRPNL | CTCM | PLC 5 EC 42 Welder Top
119C2ACMTR-1 | CTCM | Small Aux AC Motor Maintenance | 3 | Month | Heading
119C2ACMTR-1 | CTCM | Insp Coil Car ACM cleaning and Maint |  |  |  | Kalpesh
119C2ACMTR-1 | CTCM | Insp Mag Conveyor ACM cleaning and Maint |  |  |  | Kalpesh
119C2ACMTR-1 | CTCM | Insp Pinch Roll ACM Cleaning and Maint |  |  |  | Kalpesh
119C2ACMTR-1 | CTCM | Mill Entry Pinch Roll ACM Cleaning and Maint |  |  |  | Kalpesh
119C2ACMTR-1 | CTCM | Work Roll Change Car 1 ACMs Cleaning and Maint |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Work Roll Change Car 2 ACMs Cleaning and Maint |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Work Roll Change Car 3 ACMs Cleaning and Maint |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Work Roll Change Car 4 ACMs Cleaning and Maint |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Work Roll Change Car 5 ACMs Cleaning and Maint |  |  |  | Prakash
119C2ACMTR-1 | CTCM | CTCM System PC Back Up and its location to be check. |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Mill top instrument inspection to be done. |  |  |  | Prakash
119C2ACMTR-1 | CTCM | Bridle 1 Snubber1 and 2 ACM Cleaning and Maint |  |  |  | Prakash
119C2FLDDEV1 | CTCM | RC & Other Field Devices Maintenance | 3 | Month | Heading
119C2FLDDEV1 | CTCM | CTCM Roll coolant are Cable drasing points to be attend. |  |  |  | Shivam
119C2FLDDEV1 | CTCM | CTCM Roll coolant area inspection points to be attend. |  |  |  | Shivam
119C2OCMCC | CTCM | OilCellar MCC Maintenance | 3 | Month | Heading
119C2OCMCC | CTCM | Oil Cellar EMCC Maintenance
119C2OCMCC | CTCM | Oil Cellar MCC-1 Maintenance
119C2OCMCC | CTCM | Oil Cellar MCC-2 Maintenance
119C2ENTMTR | CTCM | Entry AC Motor Maint & Greasing | 4 | Month | Heading
119C2ENTMTR | CTCM | POR Operator side motor - MOTOR
119C2ENTMTR | CTCM | POR Drive side motor - MOTOR
119C2ENTMTR | CTCM | Flattner ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Straightner ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Ent Coil Car ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Entry Pinch Roll ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Welder Tools Car ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Welder Hydraulic Pump 1 ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Welder Hydraulic Pump 2 ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | Welder Hydraulic Pump 3 ACM Motor Cleaning & Maintance
119C2ENTMTR | CTCM | High Bay Lightings maint Job In Rolling Area (Energy Care) |  |  |  | Shivam
119C2ENTMTR | CTCM | Wldr Hyd Recirc Pmp 1 & 2 ACM Motor Cleaning & Maintance
119C2EXHTMTR | CTCM | Exhaust AC Motor Maint & Greasing | 4 | Month | Heading
119C2EXHTMTR | CTCM | Fume Exhaust Sys ACM 1 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Fume Exhaust Sys ACM 2 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Fume Exhaust Sys ACM 3 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Welder Fume Exhaust Sys ACM |  |  |  | Aditya
119C2EXHTMTR | CTCM | Fume Exhaust Sys HT ACM |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Cable Cellar ACM 1 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Cable Cellar ACM 2 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Oil Cellar ACM 1 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Oil Cellar ACM 2 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Oil Cellar ACM 3 |  |  |  | Aditya
119C2EXHTMTR | CTCM | Ventilation Sys Oil Cellar ACM 4 |  |  |  | Aditya
119C2IMPMTR | CTCM | Looper & FS AC Motor Maint & Grease | 6 | Month | Heading
119C2IMPMTR | CTCM | LPR Main winch tension ACM
119C2IMPMTR | CTCM | Flying Shear ACM Cleaning and Maint |  |  |  | Prakash
119C2HSCBM | CTCM | HSDCCB, DBR and DBC MAINTENANCE | 6 | Month | Heading
119C2HSCBM | CTCM | Stand 1 Master DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 1 Slave DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 2 Master DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 2 Slave DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 3 Master DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 3 Slave DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 4 Master DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | Stand 4 Slave DC Drive HSDCCB, DBR Cleaning & Maint
119C2HSCBM | CTCM | All DC drive Capacitor to be checked |  |  |  | Jose
119C2AUXSYS | CTCM | Elect Auxiliary System Maintenance | 6 | Month | Heading
119C2AUXSYS | CTCM | Earthing Pits Condition and All Display borad to be check. |  |  |  | Nishant
119C2AUXSYS | CTCM | Electrical Deprt Portable Tools, Multimeter Calibration to be done.(Multi, Clamp On, Megger) |  |  |  | Kalpesh
119C2AUXSYS | CTCM | Oil Cellar and Cable cellar Lighting Fixtures list to be Prepare |  |  |  | Aditya
119C2AUXSYS | CTCM | Utility Socket Elect |  |  |  | Shivam
119C2WLDHEXH | CTCM | Welder Trafo Heat Exh Flushing & Maint | 6 | Month | Heading
119C2MDBPDB | CTCM | MDB/PDB Maintenance | 6 | Month | Heading | Siva
119C2MDBPDB | CTCM | MDB Panel cleaning and Maintance |  |  |  | Siva
119C2MDBPDB | CTCM | PDB Panel cleaning and Maintance |  |  |  | Siva
119C2MDBPDB | CTCM | DRIVE PDB Panel Cleaning and Maintance |  |  |  | Siva
119C2MDBPDB | CTCM | Stand-1 Trafo LT Link inspection to be done. |  |  |  | Rakesh
119C2MDBPDB | CTCM | Stand-2 Trafo LT link inspection to be done. |  |  |  | Rakesh
119C2MDBPDB | CTCM | Stand-3 Trafo LT link inspection to be done. |  |  |  | Rakesh
119C2MDBPDB | CTCM | Stand-4 Trafo LT link inspection to be done. |  |  |  | Rakesh
119C2MDBPDB | CTCM | CTCM and CRM-1 caller water sprinkler trial to be taken. |  |  |  | Sanjay
119C2MRIOPNL | CTCM | Mill RIO Panel Maintenance | 6 | Month | Heading
119C2MRIOPNL | CTCM | Mill area all RIO panel Cleaning and Maint Job
119C2STRNG | CTCM | Steering Unit Maintenance | 6 | Month | Heading
119C2STRNG | CTCM | STU 1, 2, 3, 4, 5 and 6 Panel cleaning to be done.
119C2STRNG | CTCM | STU 1, 2, 3, 4, 5 and 6 Frame cleaning to be done.
119C2ARMCC3 | CTCM | Armatic coil car-2 Maintennance | 6 | Month | Heading | Shivam
119C2ARMCC3 | CTCM | Armatic coil car-3 Maintennance |  |  |  | Shivam
119C2ARMCC3 | CTCM | Roll coolant Flow meter calibration AMC for IMS Audit |  |  |  | Rakesh
119C2PLANICM | CTCM | Planicim Panel Maintenance | 6 | Month | Heading
119C2PLANICM | CTCM | Planicim Roll ACM
119C2PLANICM | CTCM | Planicim Roll Electronics inspection to be done
119C2PLANICM | CTCM | Planicim Field Devices maint and Inspection to be done
119C2PLANICM | CTCM | Planicim Panel Inspection to be done
119C2PLANICM | CTCM | AC drive TSU Capacitor to be check.
119C2MMGRS1 | CTCM | MILL DCMOTOR GREASING Stnd 12 | 6 | Month | Heading
119C2MMGRS2 | CTCM | MILL DCMOTOR GREASING Stnd 34 | 6 | Month
119C2RCKPNL | CTCM | RackPanel Maintenance | 12 | Month
119C2RCKPNL | CTCM | MM-AGC Panel |  |  |  | Prakash
119C2RCKPNL | CTCM | HGC 3-4 Panel |  |  |  | Prakash
119C2RCKPNL | CTCM | Entry MM Panel |  |  |  | Prakash
119C2RCKPNL | CTCM | L-1 Server Panel |  |  |  | Prakash
119C2RCKPNL | CTCM | HGC 1-2 Panel |  |  |  | Prakash
119C2REACTOR | CTCM | REACTOR MAINTENANCE | 12 | Month | Heading
119C2REACTOR | CTCM | Stand 1 to 4 Reactor Room Inspection and cleaning.
119C2SGELINS | CTCM | CTCM_ALL_SILICAGEL INSPECTION As Pre-monsoon | 12 | Month | Heading | Aditya
119C2CBLINSP | CTCM | CTCM _ALL_CABLE INSPECTION | 12 | Month |  | Kalpesh
119C2FBRINSP | CTCM | CTCM_ALL Panel Fire Barrier Inspection to be done and list to be prepare | 12 | Month |  | Aditya
119C2HOTBLWR | CTCM | CTCM_ALL_PNAEL/JB HOT BLOWER | 12 | Month
Pending | CTCM | Mill Top RIO Maint | 45
Pending | CTCM | Hydrostatic motor maint job | 3 | Month
Pending | CTCM | Br-1 & 2 Motor Maint
Pending | CTCM | Br-3 & 4 Motor Maint
Pending | CTCM | Exit Inspection area motor maint
Pending | CTCM | Roll coolant supply pump motor maint
Pending | CTCM | All Agitator Motor maint
119C2TENSIO | CTCM | Interstand Tensiometer Maintenance | 12 | Month | Heading
119C2TENSIO | CTCM | Interstand Loadcell Mounting bolts to be check.
119C2TENSIO | CTCM | Interstand Drive side cable condition to be check.
119C1-TRAFO | CTCM | Transformer Maintenance | 300 |  | Heading
119C2BRDMTR | CTCM | Briddle Motors Maintenance & Greasing | 4 |  | Heading
119C2BRDMTR | CTCM | Briddle 1 M1 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 1 M2 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 2 M1 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 2 M2 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 3 M1 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 3 M2 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 4 M1 ACM Maint and Cleaning.
119C2BRDMTR | CTCM | Briddle 4 M2 ACM Maint and Cleaning.
Pending | CTCM | CTCM UPS BATRY REPLACEMENT
119C2DCMRPL3 | CTCM | DC Motor Replacment Job
119C2EXTMTR | CTCM | Exit AC Motor Maint & Greasing | 120 |  | Heading
119C2HTMAINT | CTCM | HT Panel, Breaker, Busbar Maintenace | 300 |  | Heading
119C2OCSYS2 | CTCM | O/Cllar Sysems2 ACMotor Maint & Greasing | 6 | Month | Heading
119C2OCSYS3 | CTCM | O/Cllar Sysems3 ACMotor Maint & Greasing | 6 | Month | Heading
119C2PCCMNT | CTCM | PCC Maintenance | 6 | Month | Heading
119C2WRIOPNL | CTCM | Welder RIO Panel Maintenance | 6 | Month | Heading
119C2MVDRV | CTCM | MV Drive panel Maintenance | 6 | Month | Heading
119C2MVMTR | CTCM | MV Motor Maintenance & Greasing | 6 | Month | Heading
119C2OCSYS1 | CTCM | O/Cllar Sysems1 ACMotor Maint & Greasing | 6 | Month | Heading
119C2PLCPNL | CTCM | PLC Panel Maintenance | 12 | Month | Heading
119C2PLCPNL | CTCM | Welder Secondary and CT Resistance condition to be check and changed. |  |  |  | Jose
119C2SYSFLD | CTCM | Systems Field Devices Maintenance | 6 | Month | Heading
119C2CBLCH10 | CTCM | CTCM RCC1 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Siva
119C2CBLCH11 | CTCM | CTCM RCC2 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Siva
119C2CBLCH12 | CTCM | CTCM RCC3 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Siva
119C2CBLCH13 | CTCM | CTCM RCC4 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Siva
119C2CBLCH14 | CTCM | CTCM RCC5 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Siva
119C2CBLCH15 | CTCM | CTCM ACC2 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Sanjay
119C2CBLCH16 | CTCM | CTCM ACC3 CRD CABLE Inspection & REPLACEMENT | 12 | Month | Heading | Sanjay
Pending |  | CTCM COTC CRD CABLE REPLACEMENT
Pending |  | CTCM EXCC_1 DRAG CABLE REPLACEMENT
Pending |  | CTCM EXCC_2 DRAG CABLE REPLACEMENT
Pending |  | CTCM CROSS CAR DRAG CABLE REPLACEMENT
Pending |  | CTCM INSP CC DRAG CABLE REPLACEMNT
Pending |  | CTCM X0 GAUGE DRAG CABLE REPLACEMENT
Pending |  | CTCM X1 GAUGE DRAG CABLE REPLACEMENT
Pending |  | CTCM X5A GAUGE DRAG CABLE REPLACEMENT
Pending |  | CTCM X5B GAUGE DRAG CABLE REPLACEMENT
119C2CRDCH1 | CTCM | CTCM RCC1 CRD Inspection | 60 |  | Heading | Prakash
119C2DCMCOOL | CTCM | DCM Cooling ACM Maint & Greasing | 6 | Month | Heading
Pending |  | CTCM ENCC DRAG CHAIN REPLACEMENT
Pending |  | CTCM EXCC_1 DRAG CHAIN REPLACEMENT
Pending |  | CTCM EXCC_2 DRAG CHAIN REPLACEMENT
Pending |  | CTCM CROSS CAR DRAG CHAIN REPLACEMENT
Pending |  | CTCM INSP CC DRAG CHAIN REPLACEMNT
Pending |  | CTCM X0 GAUGE DRAG CHAIN REPLACEMENT
Pending |  | CTCM X1 GAUGE DRAG CHAIN REPLACEMENT
Pending |  | CTCM X5A GAUGE DRAG CHAIN REPLACEMENT
Pending |  | CTCM X5B GAUGE DRAG CHAIN REPLACEMENT
119C2ECRMCC |  | ECR MCC Maintenance | 6 | Month | Heading
Pending |  | CTCM STAND-1 DC MOTOR HOLDER REPLACEMENT
Pending |  | CTCM STAND-2 DC MOTOR HOLDER REPLACEMENT
Pending |  | CTCM STAND-3 DC MOTOR HOLDER REPLACEMENT
Pending |  | CTCM STAND-4 DC MOTOR HOLDER REPLACEMENT
Pending |  | CTCM STD_1 SONY_SCALE REPLACEMENT
Pending |  | CTCM STD_2 SONY_SCALE REPLACEMENT
Pending |  | CTCM STD_3 SONY_SCALE REPLACEMENT
Pending |  | CTCM STD_4 SONY_SCALE REPLACEMENT
Pending |  | CTCM STD_5 SONY_SCALE REPLACEMENT
119C2BTRYCH1 | CTCM | Battery Inspection and replacment | 24 | Month | Heading
119C2BTRYCH1 | CTCM | CTCM AC80 Battery to be check and replaced.
119C2BTRYCH1 | CTCM | CTCM All PLC Battery to be check and replaced.
119C2MAGCRN | CTCM | Magnetic Crane Maintenance | 6 | Month | Heading | Sanjay
119C2BRRPLS1 | CTCM | CTCM STAND-1 DC MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C2BRRPLS2 | CTCM | CTCM STAND-2 DC MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C2BRRPLS3 | CTCM | CTCM STAND-3 DC MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C2BRRPLS4 | CTCM | CTCM STAND-4 DC MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C2ACMBGR7 | CTCM | CTCM LUBRICATION SYSTEM MOTORS | 60 |  | Heading
Pending | CTCM | CTCM ROLL COOLANT MOTORS |  |  | Heading
Pending |  | CTCM HYDROLIC SYSTEM MOTORS
Pending |  | Oil Cellar MCC-1 Main and Cleaning
Pending |  | Oil Cellar MCC-2 Maint and Cleaning.
Pending |  | Oil Cellar EMCC Maint and Cleaning.
Pending |  | CTCM FUME EXHUST-3 Motor and Power JB Maint
119C1-FLDDEV | CRM-1 | Mill Field Device Maintenance | 2 | Month | Heading
119C1-FLDDEV | CRM-1 | CTCM & CRM-1 area open JB inspection to be done. |  |  |  | Shivam
119C1-FLDDEV | CRM-1 | CRM-1 single and Three phase socket condition to be check. |  |  |  | Shivam
119C1-FLDDEV | CRM-1 | Lighting status to check and provide in CRM-1 and CTCM ECR. |  |  |  | Shivam
119C1THMG | CRM-1 | THERMOGRAPHY FOR CRM-1 PANELS | 3 | Month | Heading
119C1-SDCMTR |  | Small DC Motor Maintenance | 6 | Month | Heading
119C1-FDMNT |  | PCC/MPCC Maintenance | 6 | Month | Heading
119C1-OCACM | CRM-1 | OilCellar AC Motor Maintenance | 3 | Month | Heading
119C1-OCACM | CRM-1 | Roll Coolant ACM 1
119C1-OCACM | CRM-1 | Mill Hydraulic Sys 1 ACM
119C1-OCACM | CRM-1 | Aux Hydraulic Pump 1 ACM
119C1-OCACM | CRM-1 | Aux Hydraulic Pump 3 ACM
119C1-OCACM | CRM-1 | Mill Aux ACMs
119C1-OCACM | CRM-1 | Roll Coolant ACM 2
119C1-OCACM | CRM-1 | Aux Hydraulic Pump 2 ACM
119C1-OCACM | CRM-1 | Sump Disposal ACMs
119C1-OCACM | CRM-1 | Mill Hydraulic Sys 2 ACM
119C1-OCACM | CRM-1 | Roll Coolant System AUX ACMs
119C2GRSEQP |  | Mech Greasing Equipments Maintenance | 6 | Month | Heading
119C1-MCCMNT | CRM-1 | MCC Maintenance | 3 | Month | Heading
119C1-MCCMNT | CRM-1 | MOTOR CONTROL CENTER-1(MCC-1)
119C1-MCCMNT | CRM-1 | MOTOR CONTROL CENTER-2(MCC-2)
119C1-MCCMNT | CRM-1 | MOTOR CONTROL CENTER-3(MCC-3)
119C1-MCCMNT | CRM-1 | MAIN LIGHTING DISTRIBUTION BOARD(MLDB)
119C1-HTPNL |  | HT Breaker &Panel Maintenance | 12 |  | Heading
119C2-FIRMNT | CRM-1 | CRM-1 Fire Alarm System Maintenance | 3 | Month | Heading | Aditya
119C2-FIRMNT | CRM-1 | CRM-1 Cable celar fire sensor status to be check. |  |  |  | Aditya
119C2-FIRMNT | CRM-1 | CRM-1 Main Fire panel status to be check and correct. |  |  |  | Aditya
119C2-FIRMNT | CRM-1 | CRM-1 All fire extingushure status to be check and correct. |  |  |  | Aditya
119C2-FIRMNT | CRM-1 | CRM-1 Oil cellar fire sensor status to be check. |  |  |  | Aditya
119C1THYCH5 | CRM-1 | DRM1 MILL FLD DRV THY REPLACEMENT | 4 | Month | Heading
119C1SGELINS | CRM-1 | CRM1_ALL_SILICAGEL INSPECTION | 12 | Month | Heading
119C1HOTBLWR | CRM-1 | CRM1_ALL_PNAEL/JB HOT BLOWER | 12 | Month | Heading
119C1FBRINSP | CRM-1 | CRM1_ALL_FIRE BARRIER INSPECTION | 12 | Month | Heading | Aditya
119C1TRFSIL1 | CRM-1 | CRM1 TRAFO_SILICAGEL_REPLACEMENT | 12 | Month | Heading | Jignesh
119C1BRRPLS | CRM-1 | CRM1 POR MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C1THYCH7 | CRM-1 | CRM1 POR DRV THY REPLACEMENT | 120 | Month | Heading
119C1BRRPL2 | CRM-1 | CRM1 MILL MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C1BTRYCH4 | CRM-1 | CRM1 MILL DRV CPU BTRY REPLACEMENT | 24 | Month | Heading | Jignesh
119C1BTRYCH1 | CRM-1 | CRM1 MASTER PLC CPU BTRY REPLACEMENT | 24 | Month | Heading | Jignesh
119C1BTRYCH6 | CRM-1 | CRM1 HYROP CPU BTRY REPLACEMENT | 24 | Month | Heading | Jignesh
119C1BRRPL4 | CRM-1 | CRM1 ETR TOP/BOT MTR BRUSH REPLACEMENT | 12 | Month | Heading
119C1THYCH8 | CRM-1 | CRM1 ETR TOP BRDL DRV THY REPLACEMENT | 12 | Month | Heading
119C1BRRPL1 | CRM-1 | CRM1 ETR MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C1BTRYCH3 | CRM-1 | CRM1 ETR DRV CPU BTRY REPLACEMENT | 24 | Month | Heading | Jignesh
119C1THYCH9 | CRM-1 | CRM1 ETR BOT BRDL DRV THY REPLACEMENT | 12 | Month | Heading
119C1PNLSIL2 | CRM-1 | CRM1 ECR_PANEL_SILICAGEL REPLACEMENT (CRM-1 ECR) | 12 | Month | Heading | Jignesh
119C1BRRPL5 | CRM-1 | CRM1 DTR TOP/BOT MTR BRUSH REPLACEMNT | 12 | Month | Heading
119C1BRRPL3 | CRM-1 | CRM1 DTR MOTOR BRUSH REPLACEMENT | 12 | Month | Heading
119C1DCMBR4 | CRM-1 | CRM1 DTR MOTOR BRG REPLACEMENT | 60 | Month | Heading
119C1THYCH6 | CRM-1 | CRM1 DTR FLD DRV THY REPLACEMENT | 60 | Month | Heading
119C1BTRYCH5 | CRM-1 | CRM1 DTR DRV CPU BTRY REPLACEMENT | 24 | Month | Heading
119C1BTRYCH2 | CRM-1 | CRM1 AGC PLC CPU BTRY REPLACEMENT | 12 | Month | Heading | Jignesh
119C1CBLINSP | CRM-1 | CRM1 _ALL_CABLE INSPECTION | 12 | Month | Heading
119C1-CNTDSK | CRM-1 | Control Desk Maintenance | 3 | Month | Heading
119C1-CNTDSK | CRM-1 | RIGHT CONTROL CABINET(ENTRY)
119C1-CNTDSK | CRM-1 | OD POR Elect
119C1-CNTDSK | CRM-1 | BACK PANEL
119C1-CNTDSK | CRM-1 | LEFT CONTROL CABINET(DELIVERY)
119C1-CLNG | CRM-1 | Cleaning of Panels | 1 | Month | Heading | Jignesh
119C1-CLNG | CRM-1 | Maint Job SOP to be review. |  |  |  | Jignesh
119C2BDCMTR | CRM-1 | Big DC Motor Maintenance | 1 | Month | Heading
119C2BDCMTR | CRM-1 | ENTRY TENSION REEL(ETR) DC MOTOR
119C2BDCMTR | CRM-1 | MAIN MILL DC MOTOR
119C2BDCMTR | CRM-1 | DELIVERY TENSION REEL(DTR) DC MOTOR
119C1-AUXMNT |  | Aux Eqpmnt Maintenance | 6 | Month | Heading
119C1-DRVPNL | CRM-1 | AC/DC DRV PNL Maintenance | 6 | Month | Heading
119C1-DRVPNL | CRM-1 | Battery Charger Panel Maint Job
119C1-ACMMNT | CRM-1 | AC Motor Maintenance | 3 | Month | Heading
119C1-ACMMNT | CRM-1 | OIL CELLAR VENTILATION ACM
119C1-ACMMNT | CRM-1 | Motor Lub Sys ACMs
119C1-ACMMNT | CRM-1 | Gear Lub Sys ACMs
119C1-ACMMNT | CRM-1 | Fume Exhaust ACM
119C1-ACMMNT | CRM-1 | Up Draft Fan ACM 2
119C1-ACMMNT | CRM-1 | Up Draft Fan ACM 1
119C1ACM2GRS | CRM-1 | AC motor Group 2 Greasing | 6 | Month | Heading
119C1ACM1GRS | CRM-1 | AC motor Group 1 Greasing | 6 | Month | Heading
119C1-THYPNL | CRM-1 | Thyristor Panel Maintenance | 12 | Month | Heading
119C1-GAUG | CRM-1 | THERMO GAUGE Maintenance | 3 | Month | Heading | Rakesh
119C1-SPLPNL | CRM-1 | Special Panels Maintenance | 12 | Month | Heading
119C1REAHSCB | CRM-1 | Reactor Room Reactor & HSCB maintenance | 3 | Month | Heading
119C1-OCFLD | CRM-1 | OilCellar Field Maintenance | 2 | Month | Heading

## NA
Sr. No. | Area | Priority | Task Frequency | Pending Task Detail | Responsibility | Status | Due Date | Rakesh | 0
ECR False ceiling job to be done.
2 | Rolling | P1 | Weekly SMS | Lights status to be check & provide in CTCM and CRM-1 Oil Cellar. | Aditya | Pending | 2025-05-28
3 | Rolling | P1 | Weekly SMS | Lights status to be check & provide in CTCM and CRM-1 Cable Cellar. | Aditya | Pending | 2025-05-28
4 | Rolling | P1 | Every 15 Days | CTCM and CRM-1 ECR and HT room lighting to be check and repair | Aditya | Pending
5 | Rolling | P1 | Weekly SMS | CRM-1 and Roll shop ECR 5's Status to be update. | Aditya | Pending | 2025-04-28
6 | CRM-1 | P1 | One Time | Thermo Gauge spare and updated drawing to be check. | Arpit | Pending | 2024-10-07
7 | Rolling | P1 | One Time | Motor removal structural arrangment to be made. | Arpit | Pending
8 | Rolling | P1 | Weekly SMS | Daily trafo report to be updated. | Vishal | Pending
9 | Rolling | P1 | Yearly | CTCM_ALL_SILICAGEL INSPECTION As Pre-monsoon | Vishal | Pending | #REF!
10 | Rolling | P1 | Weekly SMS | Scrape to be send every Sunday (Electrical, Lighting, Wooden, Plastic etc) | Vishal | Pending
| 2026-02-13 |  | 119C1-GAUG | THERMO GAUGE Maintenance
| 2026-02-13 |  | 119C1-AUXMNT | Aux Eqpmnt Maintenance
| 2026-02-13 |  | 119C2RCKPNL | RackPanel Maintenance
| 2026-02-13 |  | 119C2AUXSYS | Elect Auxiliary System Maintenance
| 2026-02-13 |  | 119C2ARMCC3 | Armatic CoilCar3 Maintenance
| 2026-02-15 |  | 119C2GAUGE | IMS Gauge Maintenance
| 2026-02-17 |  | 119C2PLANICM | Planicim Panel Maintenance
| 2026-02-23 |  | 119C1-OCFLD | OilCellar Field Maintenance
| 2026-02-23 |  | 119C1-FLDDEV | Mill Field Device Maintenance
| 2026-02-23 |  | 119C2EXTMTR | Exit AC Motor Maint & Greasing
| 2026-02-23 |  | 119C2EXHTMTR | Exhaust AC Motor Maint & Greasing
| 2026-02-23 |  | 119C2ENTMTR | Entry AC Motor Maint & Greasing
| 2026-02-23 |  | 119C2STNDFLD | Stand Field Devices Maintenance
| 2026-02-26 |  | 119C2FLDDEV2 | ENT,EXT,WLDR Field Devices Maintenance
| 2026-02-28 |  | 119C1VIBRM1 | VIBRATION MONITORING OF CRM1-MONTHLY
| 2026-02-28 |  | 119C1VIBRM2 | VIBRATION MONITORING OF CRM1-MONTHLY
| 2026-02-28 |  | 119C1THMG | THERMOGRAPHY FOR CRM-1 PANELS
| 2026-02-28 |  | 119C1-CLNG | Cleaning of Panels
| 2026-02-28 |  | 119C1-BDCMTR | Big DC Motor Maintenance
| 2026-02-28 |  | 119C2VIBM2 | VIBRATION MONITORING in CRM2-MONTHLY2
| 2026-02-28 |  | 119C2VIBM1 | VIBRATION MONITORING in CRM2-MONTHLY1
| 2026-02-28 |  | 119C2BDCMTR | Big DC Motor Maintenance